## SUMMARY
Item | Value
Source CSV files | 16
Input devices | 22
Output devices | 2
Total devices | 24
Check items | 4

## INPUT
No | Type | Device | AddressNo | UsedFiles | Instructions | LogicNotes | Steps
1 | INPUT | X50 | 80 | 01CmnPgm.csv | LD | Count enable command:ON | 01CmnPgm.csv:129
2 | INPUT | X51 | 81 | 01CmnPgm.csv | LD | Count enable command:OFF | 01CmnPgm.csv:145
3 | INPUT | X52 | 82 | 01CmnPgm.csv | LD | Stores current value in D2000 | 01CmnPgm.csv:161
4 | INPUT | X53 | 83 | 02PreSet.csv | LD | Preset command | 02PreSet.csv:52
5 | INPUT | X54 | 84 | 06DisCnt.csv | LD | Selected cnt fnc start cmd:ON | 06DisCnt.csv:55
6 | INPUT | X55 | 85 | 06DisCnt.csv | LD | Selected cnt fnc start cmd:OFF | 06DisCnt.csv:74
7 | INPUT | X56 | 86 | 04Lcnt1.csv | LD | Selected counter fnc start cmd | 04Lcnt1.csv:52
8 | INPUT | X57 | 87 | 04Lcnt1.csv,08LcPre.csv | LD | Stores latch cnt val 1 in D2002,Stores latch cnt value in D2002 | 04Lcnt1.csv:71,08LcPre.csv:61
9 | INPUT | X58 | 88 | 05Lcnt2.csv | LD | Stores latch cnt val 2 in D2004 | 05Lcnt2.csv:52
10 | INPUT | X59 | 89 | 07SplCnt.csv | LD | Selected counter fnc start cmd | 07SplCnt.csv:57
11 | INPUT | X5A | 90 | 07SplCnt.csv | LD | Stores sampling cnt val in D2006 | 07SplCnt.csv:76
12 | INPUT | X5B | 91 | 03MchOut.csv | LD | Coincidence output enable cmd | 03MchOut.csv:58
13 | INPUT | X5C | 92 | 03MchOut.csv | AND | Coinc sgnl 1 reset cmd:OFF,Coinc sgnl 1 reset cmd:ON | 03MchOut.csv:98
14 | INPUT | X5D | 93 | 10ChkFrq.csv | LD | Stores measured freq in D2008 | 10ChkFrq.csv:57
15 | INPUT | X5E | 94 | 11ChkRsp.csv | LD | Stores measured rot spd in D2010 | 11ChkRsp.csv:58
16 | INPUT | X5F | 95 | 12ChkPls.csv | LD | Pulse measurement start command | 12ChkPls.csv:55
17 | INPUT | X60 | 96 | 12ChkPls.csv | LD | Stores measured pulse in D2012 | 12ChkPls.csv:75
18 | INPUT | X61 | 97 | 13OutPwm.csv | LD |  | 13OutPwm.csv:86
19 | INPUT | X62 | 98 | 14RstErr.csv | LD | CH1 error reset command | 14RstErr.csv:103
20 | INPUT | X97 | 151 | 99TestWarnging.csv | LD | Stores current value in D2000 | 99TestWarnging.csv:161
21 | INPUT | X98 | 152 | 99TestWarnging.csv | LD | Count enable command:OFF | 99TestWarnging.csv:145
22 | INPUT | X99 | 153 | 99TestWarnging.csv | LD | Count enable command:ON | 99TestWarnging.csv:129

## OUTPUT
No | Type | Device | AddressNo | UsedFiles | Instructions | LogicNotes | Steps
1 | OUTPUT | Y70 | 112 | 03MchOut.csv | OUT | Coincidence conf LED signal | 03MchOut.csv:80
2 | OUTPUT | Y71 | 113 | 09ChkOvr.csv | OUT | Overflow confirmation LED signal | 09ChkOvr.csv:59

## CHECK
Level | Type | Device | Message | Details
WARN | MULTIPLE_USED_FILES | X57 | Device is used in multiple files. | 04Lcnt1.csv,08LcPre.csv
WARN | MULTIPLE_LOGIC_NOTES | X57 | Device has multiple logic notes. | Stores latch cnt val 1 in D2002,Stores latch cnt value in D2002
WARN | MULTIPLE_LOGIC_NOTES | X5C | Device has multiple logic notes. | Coinc sgnl 1 reset cmd:OFF,Coinc sgnl 1 reset cmd:ON
WARN | MISSING_LOGIC_NOTE | X61 | Logic note is empty. | 13OutPwm.csv